## Data Dictionary
Field Name | Field Description | Is Data Piece Required? | Only Acceptable Formatting
Address | Street Address where the measurement(s) was taken | Y
City | City Name | Y
State | State abbreviation. Please use two letter postal abbreviations (i.e. IL, MO, IA) | Y | IL
Zip | 5 digit zip code. Please do not include the Plus 4 extension | Y | XXXXX
Start Date | Date test began. | Y | MM/DD/YYYY
Stop Date | Date test completed. | Y | MM/DD/YYYY
Mitigation System? | If a mitigation system is currently in use. Enter Y for Yes, N for No. | Y | Y = Yes N = No
Measurement Value | Results of the measurements taken in pCi/L. Enter only the number. Do NOT show more than one decimal place (i.e. 4.0 not 4.01) | Y | X.X
Real Estate? | Indicator of the building being tested for radon due to a Real Estate transaction or not. | Y | 1 = Yes 0 = No
Floor Level | The floor level in the building where the Radon test was conducted. | Y | B = Basement F1 = 1st floor F2 = 2nd floor F3 = 3rd floor F4 = above 3rd floor O = Other U = Unknown
Location Type | Location where test was performed. Please use one of the following codes: B for basement, C for above crawlspace, S for above slab, and O for other. | Y | B = Basement C = Crawlspace S = Slab-on-grade O = Other
Location Other Description | If location was specified O, please describe the location. Otherwise enter N or N/A | Y | Brief Text Narrative, or N or N/A = Not Applicable
Device Type | Enter the two letter code for the type of device used for the test (i.e. AC, AT, CR, LS, ES, etc.) Please refer to Appendix C of the Adopted Rule for a complete list of the device types and their associated codes. | Y | AC = Activated Charcoal Adsorption AT = alpha track ES = Short-term electret EL = Long-term electret CR = continuous radon monitor CW = continuous working level monitor LS = Charcoal Liquid Scintillation WL = Working Level
Valid Test? | Y for Yes, N for No. | Y | Y = Yes N = No
Invalid Reason | Brief description of why the test was invalid (i.e. Closed house conditions violated, Test tampered with, etc.). If the test was valid enter N or N/A for Not Applicable. | Y | Brief Text Narrative, or N or N/A = Not Applicable
Active or Passive Mitigation | One letter abbreviation describing if mitigation system in active or passive (P or A) |  | A = Active P = Passive
Tag Number | The number of the IEMA issued tag on systems installed after November 1, 2009. Should be in the format 12345-6789 |  | #####-####
Building Type | The designator that represents the building purpose. | Y | R = Residential N = Non-residential/Commercial D = Daycare center S = School H= Hospital G = Government building CU = Colleges or Universities I = Institutional U = Unknown

## Sample Data Set
Address | City | State | Zip | Start Date | Stop Date | Mitigation System? | Measurement Value | Real Estate? | Floor Level | Location Type | Location Other Description | Device Type | Valid Test? | Invalid Reason | Active or Passive Mitigation | Tag Number | Building Type | Average | Both >4 RPD | Both <4 RPD | Placed By | Retrieved By | Placement Hours | Retrieval Hours | ABC Hours | DEF Hours | Radon Conc. | ABC WLM | DEF WLM | ABC Accum | DEF Accum
1035 Outer Park Drive | Springfield | IL | 62704 | 2024-10-01 | 2024-10-03 | N | 5.4 | 1 | B | B | N/A | CR | Y | N |  |  | R | 4.65 | Review Result | 0% | ABC | DEF | 1 | 0.5 | 1 | 0.5 | 4.65 | 0.00013676 | 6.8382e-05 | 0.00013676 | 6.8382e-05
1035 Outer Park Drive | Springfield | IL | 62704 | 2024-10-01 | 2024-10-03 | N | 3.9 | 1 | B | B | N/A | CR | Y | N |  |  | R | [12 empty] | 0.00013676 | 6.8382e-05
1301 Knotts Street | Springfield | IL | 62702 | 2024-10-04 | 2024-10-07 | N | 3.2 | 1 | F1 | C | N/A | CR | Y | N | A | 09154-1105 | R |  |  |  | ABC | ABC | 1 | 0.5 | 1.5 | 0 | 3.2 | 0.00014118 | 0 | 0.00027794 | 6.8382e-05
1 Old State Capitol Plaza | Springfield | IL | 62703 | 2024-10-06 | 2024-10-10 | Y | 0.5 | 1 | F1 | S | N/A | CR | Y | N | A |  | R | 0.6 | 0% | 33.33% | DEF | DEF | 1 | 0.5 | 0 | 1.5 | 0.6 | 0 | 2.6471e-05 | 0.00027794 | 9.4853e-05
1 Old State Capitol Plaza | Springfield | IL | 62704 | 2024-10-06 | 2024-10-10 | Y | 0.7 | 1 | F1 | S | N/A | CR | Y | N | A | 11294-1003 | R | [12 empty] | 0.00027794 | 9.4853e-05
123 Fourth Street | Springfield | IL | 62702 | 2024-10-11 | 2024-10-14 | N | 22.8 | 1 | B | B | N/A | CR | Y | N |  |  | R | 26.45 | 27.6% | 0% | DEF | ABC | 1 | 0.5 | 0.5 | 1 | 26.45 | 0.00038897 | 0.00077794 | 0.00066691 | 0.00087279
123 Fourth Street | Springfield | IL | 62702 | 2024-10-11 | 2024-10-14 | N | 30.1 | 1 | B | B | N/A | CR | Y | N |  |  | R | [12 empty] | 0.00066691 | 0.00087279
1035 Outer Park Drive | Springfield | IL | 62704 | 2024-11-01 | 2024-11-03 | N | 126.2 | 1 | U | O | First Floor Above Basement with dirt floor. | CR | Y | N | A | 12175-1118 | S | 110.2 | 29.04% | 0% | DEF | DEF | 1 | 0.5 | 0 | 1.5 | 110.2 | 0 | 0.0048618 | 0.00066691 | 0.0057346
1035 Outer Park Drive | Springfield | IL | 62704 | 2024-11-01 | 2024-11-03 | N | 94.2 | 0 | U | O | First Floor Above Basement with dirt floor. | CR | Y | N | A |  | R | [12 empty] | 0.00066691 | 0.0057346
1301 Knotts Street | Springfield | IL | 62702 | 2024-11-04 | 2024-11-07 | N | 10.4 | 0 | U | C | N/A | CR | Y | N |  |  | R |  |  |  | ABC | ABC | 1 | 0.5 | 1.5 | 0 | 10.4 | 0.00045882 | 0 | 0.0011257 | 0.0057346
1 Old State Capitol Plaza | Springfield | IL | 62703 | 2024-11-06 | 2024-11-10 | Y | 0.5 | 0 | F1 | S | N/A | CR | Y | N | A | 13248-1045 | R | 0.95 | 0% | 94.74% | ABC | ABC | 1 | 0.5 | 1.5 | 0 | 0.95 | 4.1912e-05 | 0 | 0.0011676 | 0.0057346
1 Old State Capitol Plaza | Springfield | IL | 62704 | 2024-11-06 | 2024-11-10 | Y | 1.4 | 0 | F1 | S | N/A | CR | Y | N | A |  | R | [12 empty] | 0.0011676 | 0.0057346
123 Fourth Street | Springfield | IL | 62702 | 2024-11-11 | 2024-11-14 | N | 52.4 | 0 | B | B | N/A | CR | Y | N |  |  | C | 50.2 | 8.765% | 0% | ABC | DEF | 1 | 0.5 | 1 | 0.5 | 50.2 | 0.0014765 | 0.00073824 | 0.0026441 | 0.0064728
123 Fourth Street | Springfield | IL | 62702 | 2024-11-11 | 2024-11-14 | N | 48 | 1 | B | B | N/A | CR | Y | N |  |  | C | [12 empty] | 0.0026441 | 0.0064728
1035 Outer Park Drive | Springfield | IL | 62704 | 2024-11-21 | 2024-11-23 | N | 9.3 | 1 | B | B | N/A | CR | N | Homeowner violated closed house conditions |  |  | C | 11.4 | 36.84% | 0% | DEF | DEF | 1 | 0.5 | 0 | 1.5 | 11.4 | 0 | 0.00050294 | 0.0026441 | 0.0069757
1035 Outer Park Drive | Springfield | IL | 62704 | 2024-11-21 | 2024-11-23 | N | 13.5 | 1 | B | B | N/A | CR | N | Homeowner violated closed house conditions |  |  | C | [12 empty] | 0.0026441 | 0.0069757
1301 Knotts Street | Springfield | IL | 62702 | 2024-11-24 | 2024-11-27 | Y | 2.8 | 1 | F1 | C | N/A | CR | Y | N | P |  | R |  |  |  | ABC | DEF | 1 | 0.5 | 1 | 0.5 | 2.8 | 8.2353e-05 | 4.1176e-05 | 0.0027265 | 0.0070169
1 Old State Capitol Plaza | Springfield | IL | 62703 | 2024-11-26 | 2024-11-30 | Y | 0.9 | 1 | F1 | S | N/A | CR | Y | N | P |  | R | 0.95 | 0% | 10.53% | DEF | DEF | 1 | 0.5 | 0 | 1.5 | 0.95 | 0 | 4.1912e-05 | 0.0027265 | 0.0070588
1 Old State Capitol Plaza | Springfield | IL | 62704 | 2024-11-26 | 2024-11-30 | N | 1 | 1 | F1 | S | N/A | CR | Y | N |  |  | R | [12 empty] | 0.0027265 | 0.0070588
123 Fourth Street | Springfield | IL | 62702 | 2024-12-01 | 2024-12-04 | N | 8.6 | 1 | B | B | N/A | CR | Y | N |  |  | R | 7.95 | 16.35% | 0% | DEF | DEF | 1 | 0.5 | 0 | 1.5 | 7.95 | 0 | 0.00035074 | 0.0027265 | 0.0074096
123 Fourth Street | Springfield | IL | 62702 | 2024-12-01 | 2024-12-04 | N | 7.3 | 1 | B | B | N/A | CR | Y | N |  |  | R | [12 empty] | 0.0027265 | 0.0074096
1035 Outer Park Drive | Springfield | IL | 62704 | 2024-12-11 | 2024-12-13 | Y | 2.3 | 1 | B | B | N/A | CR | Y | N | A | 09197-1009 | M | 2.65 | 0% | 26.42% | ABC | ABC | 1 | 0.5 | 1.5 | 0 | 2.65 | 0.00011691 | 0 | 0.0028434 | 0.0074096
1035 Outer Park Drive | Springfield | IL | 62704 | 2024-12-11 | 2024-12-13 | Y | 3 | 1 | B | B | N/A | CR | Y | N | A |  | M | [12 empty] | 0.0028434 | 0.0074096
1301 Knotts Street | Springfield | IL | 62702 | 2024-12-14 | 2024-12-17 | N | 4.5 | 1 | F1 | C | N/A | CR | Y | N | A | 10128-1121 | R |  |  |  | ABC | ABC | 1 | 0.5 | 1.5 | 0 | 4.5 | 0.00019853 | 0 | 0.0030419 | 0.0074096
1 Old State Capitol Plaza | Springfield | IL | 62703 | 2024-12-16 | 2024-12-20 | N | 3.8 | 1 | F1 | S | N/A | CR | Y | N |  |  | R | 4 | Review Result | 0% | ABC | DEF | 1 | 0.5 | 1 | 0.5 | 4 | 0.00011765 | 5.8824e-05 | 0.0031596 | 0.0074684
1 Old State Capitol Plaza | Springfield | IL | 62704 | 2024-12-16 | 2024-12-20 | N | 4.2 | 1 | F1 | S | N/A | CR | Y | N |  |  | R | [12 empty] | 0.0031596 | 0.0074684
123 Fourth Street | Springfield | IL | 62702 | 2024-12-21 | 2024-12-24 | Y | 8.9 | 1 | B | B | N/A | CR | Y | N | P |  | R | 9.45 | 11.64% | 0% | ABC | ABC | 1 | 0.5 | 1.5 | 0 | 9.45 | 0.00041691 | 0 | 0.0035765 | 0.0074684
123 Fourth Street | Springfield | IL | 62702 | 2024-12-21 | 2024-12-24 | N | 10 | 1 | B | B | N/A | CR | Y | N |  |  | R | [12 empty] | 0.0035765 | 0.0074684
1035 Outer Park Drive | Springfield | IL | 62704 | 2024-12-24 | 2024-12-27 | N | 1.8 | 1 | B | B | N/A | CR | Y | N |  |  | R | 2.45 | 0% | 53.06% | DEF | DEF | 1 | 0.5 | 0 | 1.5 | 2.45 | 0 | 0.00010809 | 0.0035765 | 0.0075765
1035 Outer Park Drive | Springfield | IL | 62704 | 2024-12-24 | 2024-12-27 | N | 3.1 | 1 | B | B | N/A | CR | Y | N |  |  | R | [12 empty] | 0.0035765 | 0.0075765
1301 Knotts Street | Springfield | IL | 62702 | 2024-12-25 | 2024-12-27 | N | 2.2 | 1 | F1 | C | N/A | CR | Y | N |  |  | R |  |  |  | ABC | ABC | 1 | 0.5 | 1.5 | 0 | 2.2 | 9.7059e-05 | 0 | 0.0036735 | 0.0075765
345 Sixth Street | Jacksonville | IL | 62624 | 2024-12-26 | 2024-12-28 | N | 12.2 | 1 | B | B | N/A | CR | Y | N |  |  | R |  |  |  | DEF | ABC | 0.75 | 0.75 | 0.75 | 0.75 | 12.2 | 0.00026912 | 0.00026912 | 0.0039426 | 0.0078456